INVENTORY
Flat 2, 71a Stroud Green Road
N4 3EG London
03/09/2014
Pictures available on request:
Jeremy Basolo
07 851 215 231
jeremy.thorazine@gmail.com
Living Room
Floor
Laminate wood is in good condition, 1 worn area close to boiler cupboard. Very uneven floor, particularly on far side from kitchen.

Walls

White paint, good condition except kitchen area, lots of scratches and grease stains. A few marks and cracks in the rest of the room.

celling- good condition, minor cracks at join to wall above door and along front facing wall.

Lights 

Halogen spot lights in celling good condition and all working, 1 low light, energy saving bulb- good condition and working, 1 neon light in kitchen above sink.

Sofa

Bad condition, middle cushion is lumpy with broken springs. Faux leather upholstery has cracks and holes all cushions, as well as considerable wear to inside arms.

Book shelf

Good condition

Table and Chairs

Dining table, 3 dining chairs and 3 bar stools - Good condition

Alarms

Smoke alarm and what seems to be carbon monoxide alarm - 1 over kitchen area and 1 over living room area

Windows

Two windows in good condition. Windowsills have pealing paint.

Blinds - both working, fair condition, fairly old looking with both fraying on left side. Lower rolling mechanism missing on right window.

Net curtains- good condition, minor stains near bottom

Doors

Door to hallway- cream paint in good condition, door doesn't close (due to unevenness of walls and possible warping of wood)

Door to boiler in good condition

Boiler and radiators 

Good condition, all seems to be working

Kitchen area

Kitchen island- 5 draws, working with fair condition paint, chipping along edges. Surface in good condition.

Fridge - good condition, working and clean. One small dent on front.

Oven - good condition and working, minus button missing.

Two electric hobs, fair condition, working, slightly tarnished surfaces.

Extractor hood

Working with good suction, light bulb not working.

Three overhead cupboards, 1 above oven has pealing paint at bottom

Work surface and sink - good condition, water damaged sealant around sink.

Sink cupboard- good condition, slight water damage

Washing machine

Good condition, working. Vibrates very strongly.

Hallway
Paint in fair condition with some marks and cracks

Light and sensor working

Main door phone working

Bedroom
Walls

Good condition. Some cracks (especially behind door)
Celling

Good condition. Some cracks
Floor
Carpet through bedroom, hall and internal wardrobe, not new but good condition, only slight wear in main throughway.
Lights
Good condition, working
Internal wardrobe
Good condition, some marks on paint, some chips on shelf, clothes rail good condition.
Free-standing wardrobes (2)
Good condition, left door stays ajar when closed
Window
Good working condition, just dirty 
Blinds - working, fair condition, fairly old looking with fraying on left side. Lower rolling mechanism missing. Holes in the middle due to moths.

Bed
Fair condition, bit wobbly and noisy. Mattress, poor condition, worn with some broken springs

Small 2 draw nightstand good condition
Fire alarm
Seems to be working

Bathroom
Walls
Good condition
Door
Good condition. Lock doesn't work
Floor
Good condition, some paint marks around door
Celling
Good condition, slight damp marks
Bath 
Good condition. Sealant at edges mouldy
Shower
Good condition
Sink
Fixtures in good condition, sink slightly wobbly and tap drips when in off position. Cracks around the fixations
Mirror
Good condition. Mirror erosion at corners
Over-sink light
Good condition, bulb needs replacing
Towel rack radiator
Fair condition, a lot of surface rust (doesn't seem structural)
Mirrored wall cupboard
Good condition, doors meet at top and rub because of dislocated top left fixation. Paint marked, top left inside
Toilet
Good condition, slightly unfixed to wall. Unstable seat.
Extractor fan
Fair condition, suction not at full power
